## Slide 1: ASSIGNMENT FOR A POSITION AS HARDWARE ASIC ENGINEER AT
E.ON FUTURE LAB
Gergely Levai
03.08.2023

## Slide 2
Single usecase
Low UX
Limited connectivity
Not practical
Multi-purpose
High UX
Smart device
Modular
E.ON Future Lab
Gergely Levai
03.08.2023
Smart Power Meter
Current State of Technology and Improvement Areas

## Slide 3
Current State of Technology and Improvement Areas
E.ON Future Lab
Gergely Levai
03.08.2023
Pre-Trained AI model support
Internet enabled (via standard cable)
Bluetooth connection to other smart devices
Data Processing and Connectivity
Smart Power Meter

## Slide 4
E.ON Future Lab
Gergely Levai
03.08.2023
Connected Smart device
State of the art Cybersecurity using SmartCard and HSM signing
256 bit AES encryption of data with unique keys for each unit
STM32HSM firmware
Cybersecurity
Smart Power Meter
Current State of Technology and Improvement Areas

## Slide 5
Mains Connection
(~230V-50Hz/~115V-60Hz)
Power Source
Current Signal
A
Power Supply
Microprocessor
Cloud
Other Appliances
APP
TV
Power and Processing
Communication
Gergely Levai
E.ON Future Lab
03.08.2023
Smart Power Meter

## Slide 6
Simplified System Design
Gergely Levai
E.ON Future Lab
03.08.2023
X4
X3
Transformator + Regulators
+5V
+3.3V
RYBG211
X2
+3.3V
+5V
GND
GND
GND
+3.3V
uC
STM32U545
GND
UART
X1
ENC28J60
GND
+3.3V
SPI
Ethernet
Bluetooth
AC IN
(To Socket)
AC OUT
(To Appliances)
Data In/Out
(RJ45 to Router)
Data In/Out
To Appliances
Reset
Current sensor
Voltage
Voltage
NRST
Smart Power Meter

## Slide 7
Price and Scalability Study
E.ON Future Lab
Gergely Levai
03.08.2023
Prices calculated from multiple vendors looking for best price/quality ratio
PCB price assumed with population, can be further reduced by investing in a population machine
Break-even point at 1500 pcs.
Smart Power Meter

## Slide 8
Thank you for your attention!